THE ROYAL WOLVERHAMPTON NHS TRUST

Specialist Clinical Practice Renal Unit sub-committee

Practice Reference:    		RENAL CP/ C7 (b)

Title: 	Procedure for Continuous Ambulatory Peritoneal Dialysis Exchange (CAPD) – Fresenius Stay-Safe

Date of Implementation: 		V1 June 2009

Version:				 4

Date of Next Review: 		2012, 2015, 2018

Author: 	Senior Peritoneal Dialysis Sister – Renal Unit

Policy Location: 	Renal Specialist Clinical Practice Folder/ Trust Intranet

- Practice Statement:

1.1	The purpose of this clinical practice is to guide practitioners to safely carry out a bag exchange for continued dialysis and minimise potential risks of infection.

1.2 	This practice MUST only be undertaken by a Registered Nurse with a renal qualification, or a Registered Nurse with training from a renal nurse who has been assessed and achieved competence.

2.0	Equipment:

- Apron

- Non-sterile gloves

- Prescribed bag of Dialysate

- Disinfect cap®

- Immobiliser block

- Alcohol hand gel

- Drip stand

- Detergent wipes

- Trolley

- Detailed Action

3.1(a)	Confirm patient identity as per Trust Policy.

3.1(b) explains the procedure to the patient and gains consent.

3.2	Check the patient’s prescription sheet for:

- Full patient details

- Allergy box completed

- Prescribed medication

- Dose

- Route of administration

- Start date

- Any other directions

- Frequency

3.3	Gather equipment required.

3.4	Decontaminate hands with soap and water and dry thoroughly.

3.5	Apply apron.

3.6	Decontaminate trolley or work surface with appropriate wipe.

3.7	Decontaminate hands with alcohol hand gel.

3.8	Place equipment on trolley.

3.9	Gain access to the PD catheter ensuring the catheter is outside the patients’ clothes.

3.10	Decontaminate hands with alcohol hand gel.

3.11	Remove wrapper from the new bag and check for: strength, volume and expiry date.

3.12	Uncoil tubing and place dial in block.

3.13	Decontaminate hands with alcohol hand gel.

3.14	Open new disinfect cap® and insert into left hand side of organiser.

3.15	Place patient connector into right hand side of organiser.

3.16	Decontaminate hands with alcohol hand gel.

3.17	Remove disinfect cap® from the dial.

3.18	Unscrew patient connector from right side of organiser and connect to dial.

3.19	Hang up full bag and place empty bag on the floor.

3.20	Open external clamp on patient line to drain out.

3.21	When drainage is complete turn dial clockwise to the next position (●●)

3.22	Allow the fluid to flush line for 5 seconds.

3.23	Turn dial clockwise to next position (●●●)

3.24	When inflow complete clamp patient line.

3.25	Turn dial clockwise to end position (●●●●)

3.26	Decontaminate hands with alcohol hand gel.

3.27	Remove cover from new disinfect cap® located in the left hand side of the block.

3.28	Unscrew patient line from dial and apply new disinfection cap.

3.29	Remove line from organiser.

3.30	Apply non-sterile gloves.

3.31	Check the drained fluid for clarity and volume.

3.32	Dispose fluid into the sluice and dispose of empty bag.

3.33 	Remove apron and gloves.

3.34	Decontaminate hands with soap and water and dry thoroughly.

3.35	Record volume of fluid drained.

4.0	Financial Risk Assessment

4.1	Following an Financial Risk Assessment of this clinical practice, no financial risks have been identified.

5.0	Equality and Diversity Risk Assessment

5.1	Following an Equality and Diversity risk assessment of this clinical practice, no equality and diversity risks have been identified.

6.0	Maintenance

- 6.1	This clinical Practice will be reviewed and kept up to date by the Senior Sister Renal Home Therapies and the Specialist Clinical Practice Renal Sub- Committee workgroup will recommend changes and amendments.

7.0 Training

7.1	All staff undertaking this practice must have received appropriate in-house training and achieved competence.

- 8.0	References

Daugirdas, J.T et al (2001) Handbook of Dialysis. 3rd ed. Lippincott: New York

FRESENIUS (2002) Procedure Guide for Stay Safe Exchange. Fresenius Medical Care.

Levy, J. Morgan, J. Brown, E. Oxford handbook of Dialysis 3rd Edition 2009. Oxford University Press.

NKF KDOQI Guidelines National Kidney Foundation Inc. 2006

Saving Lives: reducing infection, delivering clean safe care. Revised edition: October 2007 Department of Health.

Thomas N Renal nursing 4th Edition 2014 Bailliere Tindall